## Foothill College
Category | District Cross Ref # | FMP # | Priority Level | Category* | Description of FOOTHILL - SUNNYVALE Projects | Budget | Reduced Scope
BOND REQUIRED
| D1 |  | I a | Infrastructure Bond | Environmental Impact Report | 500000 | 500000
|  |  | I b | Infrastructure Bond | Swing Space (Not FF&E) | 1000000 | 1000000
|  | 8 |  | BOND REQUIRED CATEGORY TOTAL |  | 1500000 | 1500000
INFRASTRUCTURE
A | D24 | 64 | IIa | Infrastructure | Campus-wide Mechanical Systems Replacement, Central Plant Upgrades & Modifications | 16500000 | 16500000
A | D25 | 65 | IIb | Infrastructure | Campus-wide Boiler Repairs/Replacement | 15500000 | 15500000
A | D26 | 66 | IIc | Infrastructure | Utility Vault Repairs & Modification ( abatement; ease of repairs) | 2000000 | 2000000
A | D40 | 69 | IIe | Infrastructure | Central Plant, Dedicated Chiller for Lohman Theater | 3000000 | 3000000
A | D42 | 71 | IIf | Infrastructure | Natural Gas Service & Distribution | 4000000 | 4000000
A | D43 | 72 | IIg | Infrastructure | Electrical Systems Replacement - Campus-wide (motor control centers, panels, subpanels, transformers, switches) | 10000000 | 10000000
A | D31 | 54 | IIh | Infrastructure | Replace BMS Campus-wide (add light sensors). Replace obsolete controls, upgrade for energy savings | 12000000 | 12000000
A | D20 | 44 | IIi | Infrastructure | Campus-wide Storm Water Drainage Improvements. Repair and improve storm drainage, incorporate new state requirements | 6000000 | 6000000
A | D21 | 62 | IIj | Infrastructure | New Fire Water System (to replace current domestic line/system connections, non-dedicated) | 12000000 | 12000000
A | D22 | 63 | IIk | Infrastructure | Domestic Water Line Renovation | 5000000 | 5000000
A | D23 | 46 | IIL | Infrastructure | Campus-wide Hydronic Line Repair & Replacement - Replace original piping as needed, remove and replace ACM insulation throughout. | 10000000 | 10000000
A | D27 | 48 | lln/IIo | Infrastructure | Campus-wide Roof Replacement & Glulam Beam Repair. Replace fake-shake roofs & glulam beams, waterproofing (building envelope). Needs scoping + ongoing replacement; supplement state maintenance funding | 24000000 | 24000000
A | D30 | 53 | IIr | Infrastructure | PV System Component Replacement. Replace inverters, panels, etc. | 2500000 | 2500000
A | D16 | 40 | IIs | Infrastructure | Building Upgrades & Repairs. Review all due for renovation/repair | 3000000 | 3000000
A | D38 | 49 | IIz | Infrastructure | Landscape Water Saving Improvements. Upgrade controls for water savings; replace irrigation where needed; | 2000000 | 2000000
A | D17 | 52 | IIId | Infrastructure | Exterior Building Repair and Painting. Repaint building exteriors; supplement state maintenance funding. | 2500000 | 2500000
A | D11,D12 | 38c | IIIg | Infrastructure | Renovate the Small Gym and Fitness Center and Building 2600, HVAC | 4000000 | 4000000
A | D33 | 41 | IIIn | Infrastructure | Parking Lot 1H Expansion. Expand 1H under PVs; improve/incorporate Lot 1F. | 3500000
A | D34 | 42 | IIIo | Infrastructure | Parking Lot 1D Repair, regrade, repave, restripe | 3000000
A |  |  | IIIp | Infrastructure | Repair parking lots, EV charging stations, paving and restriping as needed | 6000000 | 6000000
A | D39 | 68 | IId | Infrastructure | Lower Campus - Replacement of Wood Siding (Use District maintenance funds) | 0
|  |  |  | INFRASTRUCTURE CATEGORY TOTAL |  | 146500000 | 140000000
BUILDING REPLACEMENT
B | D6 | 39 | IIIr | Building Replace | Print Shop. Replacement buildings near KCI to replace print shop and relocate trash collection points. | 5000000
|  |  |  | BUILDING REPLACEMENT CATEGORY TOTAL |  | 5000000 | 0
ACCESSIBILITY & SAFETY
C | D14 | 21 | IIm | Accessibility & Safety | Campus-wide ADA access enhancements. Includes repairs or replacement of courtyard areas, walkways, ramps, stairs, railings, lifts, etc. and the removal of misc. ADA access impediments | 9000000 | 9000000
C | D44 | 73 | IIp | Accessibility & Safety | Fire Alarm Upgrades (Panels, Distribution, etc.) | 2000000 | 2000000
C | D45 | 74 | IIq | Accessibility & Safety | Fire Suppression System Upgrades & Modifications | 3500000 | 3500000
C | D32 | 34 | IIt | Accessibility & Safety | Improvements to circulation and traffic controls. Modify roadways, parking lots and pathways for safety improvements, increase visibility to vehicles and pedestrians, and improve signage and pavement markings | 7000000 | 7000000
C | D19 | 61 | IIu | Accessibility & Safety | Campus-wide Lighting Improvements | 3000000 | 3000000
C |  |  | IIv1 | Accessibility & Safety | Pool ADA, walkways and fencing | 4000000 | 4000000
C | D4 | 51 | IIx | Accessibility & Safety | Stadium Seating & Exiting Upgrades. Fix exiting and accessible seating issues in stadium seating. | 2000000
C | D18 | 60 | IIy | Accessibility & Safety | Site Improvement - ADA, Railings, Fencing, Pathways, etc. | 5000000 | 5000000
C | D3 | 37 | IIIc | Accessibility & Safety | Smithwick Theatre ADA Upgrades | 2000000 | 2000000
C |  | 25 | IIIk | Accessibility & Safety | Site Access and Wayfinding Improvements - Upper and Lower Campus Connections, Pedestrian Access, Improve Signage and Wayfinding | 10000000 | 10000000
|  |  |  | ACCESSIBILITY & SAFETY CATEGORY TOTAL |  | 47500000 | 45500000
TECHNOLOGY THAT SUPPORTS EDUCATION
D |  | 38j | IIIf | Instructional and student support facilities modernization | Building 1100 (Music Tech and Music): updated performance space (includes FF&E) | 300000
D | D15 | 38d | IIIh | Instructional and student support facilities modernization | Replace Track at Stadium | 3000000
|  |  |  | TECHNOLOGY CATEGORY TOTAL |  | 3300000 | 0
INSTRUCTIONAL SUPPORT
E |  | 4 | Ic | Instructional and student support facilities modernization | Renovate and expand STEM Success Center (4200 building) as a student resource space. Provide space for a cohort room, two flexible classrooms, improved study space for small groups, and a teleconference room to support hybrid workshops (includes equipment FF&E) | 2000000 | 2000000
E |  | 7 | If | Instructional and student support facilities modernization | Expand and improve existing classroom facilities to effect quality education, state-of-the-art equipment, and increased enrollment | 750000 | 1200000
E |  | 8 | Ih | Instructional and student support facilities modernization | Develop new simulation lab space for Biological and Health Science programs. Convert 1 classroom (includes FF&E) | 240000
E | D8 | 38a | IIv | Instructional student support facilities modernization | Pool renovation | 4000000 | 4000000
E | D9 | 38b | IIw | Instructional and student support facilities modernization | Pool Locker room renovations (gender neutral) including ADA | 12000000 | 12000000
E |  |  | IIIc1 | Instructional and student support facilities modernization | Smithwick Theatre New Audio System (includes FF&E) | 2700000 | 2700000
E | D2 | 38k | IIIj | Instructional and student support facilities modernization | Smithwick Scene Shop expansion space to support theatre program needs. New Building behind building 1000 DD finished by WRNs (includes FF&E: tables/chairs, $30,000.) | 5530000
E | D4 | 38g | IIIL | Instructional and student support facilities modernization | The Football Field/Stadium: Remodel the changing facilities, gender neutral compliance, etc. | 1500000
A |  | 38i | IIIm | Instructional and student support facilities modernization | Lot 1H/Practice Field: Build a turf (synthetic) field for soccer, lacrosse, football, etc. including lights for evening practices and games | 3000000
E | D13 |  | IIIs | Instructional and student support facilities modernization | Golf Turf Replacement & Storage Building Renovations | 750000
E | D5 | 50 | IIIt | Instructional and student support facilities modernization | Tennis Court Resurfacing. | 750000
E |  | 38e | IIIv | Instructional and student support facilities modernization | Tennis Courts and Weight Room (2900). Provide new sand volleyball courts and Install lighting for tennis and volleyball courts | 300000
E | D15 | 38d | IIIu | Instructional and student support facilities modernization | Replace The Owl Center building with a small multi-purpose structure for storage | 5000000
E |  |  | IIIL1 | Instructional and student support facilities modernization | Demolition of the snack shack, replace with new | 500000
E |  | 17 | IIIw | Instructional and student support facilities modernization | Renovate meeting rooms and specific classrooms with upgraded video-teleconferencing capabilities (includes FF&E) | 200000 | 200000
E |  |  | IIIz3 | Instructional and student support facilities modernization | Designate specific physical spaces on campus as "Spots for Online students" (includes FF&E) | 200000
E |  |  | IIIa | Instructional | Provide a space for students in Learning Communities to socialize and learn includes FF&E) | 100000
E |  |  | IIIb | Instructional | Develop a Professional Development Office space with lab for faculty and staff to learn (includes FF&E) | 100000
E |  |  | IIIc | Instructional | Provide additional space for the Campus Ambassador program (includes FF&E) | 25000
E |  | 18 | IIIz | Instructional | Develop additional space for faculty to develop online teaching materials (includes FF&E) | 100000
E |  | 19 | IIIz2 | Instructional | Designate and equip a room(s) where faculty can schedule human-proctored testing as well as "remote" proctored testing (computers with video camera) for students who are enrolled in online courses (includes FF&E) | 200000
|  |  |  | INSTRUCTIONAL SUPPORT CATEGORY TOTAL |  | 39945000 | 22100000
[5 empty] | Construction Total | 243745000 | 209100000
[5 empty] | Minimum Overhead (25%) |  | 52275000
[5 empty] | Escalation to Mid-Point (Bond X at 2018 to 2028 is 2023, times 3%/yr) | 38822259.2403 | 41630261.1702
[5 empty] | TOTAL | 282567259.2403 | 303005261.1702
Categories*
Infrastructure
Building Replacement
Accessibility & Safety
Technology that supports education
Instructional and student support facilities modernization